## Myosin-F-actin binding by pelleting assay

### Materials

| G-actin | 2-4mg/ml in buffer A |
| --- | --- |
| phalloidin | 1mM in imidazole-Cl pH7.0 with 3mMNaN3 diluted to 0.2mM before use |
| ATP | 40mM |
| myosin | 1/5-1/10 in molar ratio to actin |
| dextrose | 1M with 3mM NaN3 |
| hexokinase | Sigma H-5875 4U/ml, dilute 20 fold with cold dH2O before use |

high salt buffer mix (HSB):

1M KCl

0.17mM DTT

33.3mM imidazole-Cl pH 7.0

6.7mM MgCl2

3mM NaN3

ATP sucrose cushion:

6ml HSB

3g sucrose

0.5ml 40mM ATP

bring to 10ml with water

sucrose cushion without ATP

same as above, without ATP

Beckmann ultracentrifuge TL-100 with rotor TLA100 (Goldman's lab)

### Protocol

Prepare 4 samples, containing myosin alone, myosin + ATP, actin + myosin and actomyosin + ATP.  This controls for ATP effects on the sedimentation of myosin independent of its interaction with actin.

For 100ml samples:

1.  Aliquot 5 l G-actin or 5 ul of buffer A to individual tubes and polymerize by adding 60 ml of HSB and incubating at 25-37C for 30-60min.

2.  Add 5 l of 0.2mM phalloidin

3.  Add 5 l dextrose

4.  Add 5 l diluted hexokinase solution to all "ATP minus" samples.

5.  Add 5l of 40mM ATP to all "ATP plus" samples.

6.  Incubate at room temperature for 3-5min.

7.  Add 20 l myosin and vortex gently.

8.  Add 100 l sucrose cushion (with or without ATP) to TLA100 tube and carefully layer each sample on the cushion.

9.  Spin at 75Krpm for 20min.

10. Remove 125 l supernatant (include upper portion of the sucrose cushion), TCA precipitate and resuspend in SDS gel sample buffer.

11. Remove rest of the cushion, rinse carefully with dH2O, resuspend pellet in SDS sample buffer.